4008BIO: Structure, Function and Analysis of Biomolecules

Lab 3: Glucose Lab

Lab 3: Determination of glucose concentration in a clinical sample

Learning outcomes

· Gain practice and develop confidence in using automatic pipettes and spectrophotometers

· Use quantitative skills to calculate dilutions and perform data analysis

· Demonstrate an understanding of how enzyme-based assays can be used to measure glucose concentration

· Prepare a calibration curve using RStudio and use it to determine unknown concentrations

WARNING

YOU WILL BE HANDLING SOLUTIONS OF THE GOD-PAP REAGENT WHICH CONTAINS SODIUM AZIDE. THIS IS POISONOUS AND MAY ALSO CAUSE DAMAGE TO SKIN AND EYES. WEAR GLOVES AND SAFETY GOGGLES.

INTRODUCTION

The background to the lab is provided in the supporting slides posted on Aula (Introduction to the glucose lab). Please read this information BEFORE attending the lab.

METHOD

Preparation of samples for the calibration curve (standard curve)

For the calibration curve, six different concentrations of glucose need to be prepared.

You need to prepare a 1mM solution of glucose from a 100mM stock solution. From this 1mM solution, standards for the calibration curve will be prepared.

Before you prepare this solution, you will first need to consider the following:

What concentrations are you going to use for your standards? (these need to be prepared in 1.0ml volumes). The top standard will just be 1.0ml of the 1mM solution. What proportion of water and 1mM glucose will you need in the other standards?

How are you going to prepare these standards?

Stock solution of 100mM glucose – dilute this x100 to give a 1mM solution

100ul of the 100mM solution plus 9900ul of water (0.1ml + 9.9ml) – mix well

You will need 6 test tubes for the standards. The final volume in each tube will be 1000ul (1ml) – we will test each of these solutions in duplicate rather than preparing them in duplicate so you only need to prepare one set of 6 test tubes

6 standards from S0 to S5

0 to 1000ul of 1mM Glucose and 1000ul to 0ul of water – so that you always end up with the same total volume (1000ul) in each test tube

0, 0.2, 0.4, 0.6, 0.8 and 1.0mM standards

Fill in the table below and get your volumes checked before proceeding.

| Glucose | Concentration | Volume in ml | Volume in ml |
| --- | --- | --- | --- |
| Standard | mM | 1mM glucose | water |
| S0 | 0.0 | 0 | 1.0 |
| S1 | 0.2 | 0.2 |  |
| S2 | 0.4 |  |  |
| S3 | 0.6 | 0.6 | 0.4 |
| S4 | 0.8 |  |  |
| S5 | 1.0 | 1.0 | 0 |

Preparation of serum sample

The concentration of glucose in the serum sample is unknown; therefore, if the assay was performed directly on the sample, it is possible that the concentration of glucose would be outside the range of the calibration curve. For this reason, a range of dilutions will be performed on the sample before the assay is carried out.

Three dilutions of the sample need to be prepared (3 test tubes) – as with the calibration standards you only need 3 test tubes

What dilutions will you use and how will you prepare these? (1ml samples need to be prepared here)

Dilution factors = x2, x5 and x20

Dilution factor = Final Volume / Volume Added

Volume to add = Final Volume / Dilution Factor

Final Concentration = Start Concentration / Dilution Factor

Undiluted Concentration (original) = Concentration Measured x Dilution Factor

For example, for the x5 dilution you will need to dilute (mix) 0.2ml of the serum sample and 0.8ml of water.

Dilution factor = 0.8 + 0.2 / 0.2       = 1.0 / 0.2            = 5

In addition to the serum sample, a positive control will be provided. This will need to be processed alongside the other samples.

For a negative control dilute 0.1ml of the serum sample with 0.9ml of dH2O in a cuvette (duplicate) and read these alongside the other samples – do not add GOD-PAP to these 2 cuvettes Why are controls important in experimental design?

Now that you have planned these aspects of your experiment, prepare a table in Excel so that you can clearly and accurately record the results of the experiment during the lab (there is one prepared for you already, but you can make your own if you prefer). You need to record the absorbance of your standards, your positive control and your samples.

GOD-PAP assay for the determination of glucose concentration

Glucose standards will be prepared in 1.0ml volumes in the test tubes provided. Ensure they are mixed thoroughly. Check by eye that each test tube and cuvette contains the same sample volume.

The assay will be done in duplicate.

Label 6 pairs of tubes (12 tubes) with the standard to be tested (S0 to S5). Transfer 0.1ml of each prepared standard in duplicate to each of the labelled tubes. You will have 12 tubes of glucose standards for calibration.

Dilutions of the serum sample will be prepared in test tubes in 1ml volumes. Again, ensure these are thoroughly mixed before adding 0.1ml to labelled tubes, in duplicate (6 test tubes – 2 of the x2, 2 of the x5 and 2 of the x20).

Remember to make a note of the serum sample that you have used for the experiment.

A positive control will be provided. 0.1ml of this needs to be added to two test tubes.

For a negative control dilute 0.1ml of the serum sample with 0.9ml of dH2O in test tubes (duplicate) and read these alongside the other samples – do not add GOD-PAP to these 2 test tubes

You should end up with 22 test tubes – as shown below

Add 0.9ml of GOD-PAP reagent to all of the test tubes except the negative controls – mix well

Incubate the samples at room temperature for 25 minutes (on the bench top) – you should have 24 test tubes.

Read the absorbance at 500nm (remember to use the S0 standard as a blank).

Record the absorbance of each sample in the table you have prepared and then input the relevant values into R studio to produce a calibration curve. You need to input the absorbance values for both sets of replicates. In this initial analysis of the results, you will need to consider the following:

· R 2 value

· How accurate is the value for the positive control?

You must get these values checked by a member of staff in the next lab session. If the R2 is too low or the value for the positive controls differs too much from the actual value, all aspects of the experiment may need to be repeated.