4009BIO: Cell Communication, Structure and Function

Lab 1: Cell culture LTK

Laboratory 1

IN VITRO CULTURE OF MAMMALIAN CELLS

In this lab you will be introduced to the basic procedures for the maintenance of in-vitro cultures of mammalian cells. You will also use the knowledge you have developed in Workshop to culture cells:

- You will look at the living cultures of LTK- mammalian cells using an inverted microscope.

- You will subculture a flask of cells and set up two new flasks at different plating densities. You will use one of these flasks to set up your six-well plate during lab.

## LEARNING OUTCOMES:

## At the end of this practical session you should be able to:

- Use the inverted microscope for the observation of live cells and assessment of the degree of confluency of adherent cell cultures;

- Use the haemocytometer for viable cell counting of cell suspensions;

- Accurately calculate plating densities for new cultures;

- Perform all the procedures to subculture an established cell line;

- Reflect on the techniques used and results you have obtained and suggest improvements that would give you more reliable data.

TASK 1:    OBSERVATION OF LIVING CELL CULTURES USING THE INVERTED  MICROSCOPE

Living cells can be examined in situ (i.e. growing in their flask) using an inverted optical microscope. The cells you will be using today are called LTK- cells. These are mouse fibroblasts derived from areolar connective tissue.

1. 	Examine the LTK- cell culture using the inverted microscope at x10 and 	x20 magnification.

2.	Using the whiteboards, make a simple line drawing (no shading) at x20 magnification of the culture. The drawing should show the arrangement (pattern), shape and approximate sizes of the cultured cells and any other prominent features. Cell features observed should be appropriately labelled. Take a photograph of your drawing and give it an informative title.

Insert photograph of cells. Figure 1: Title:

TASK 2:     SUBCULTURE OF MOUSE LTK– CELLS and INOCULATION OF NEW FLASKS

See the flow diagram on the next page to get an overview of the protocol.

You are provided with a flask (surface area 25 cm2) of mouse LTK– cells, which have been incubated for about 3 days.

Write your name and group letter on the side of the flask.

You are required to release these cells from the flask surface to make a cell

suspension, count the cells using a haemocytometer and to inoculate new

flasks with cells at two different plating densities.

You will work on the bench using good aseptic technique and sterile

pipettes and reagents. You should note that the cells you are using today

are harmless (you do not need to protect yourself from the cells) and so the

main purpose of your aseptic technique is to prevent the entry of bacterial or

fungal contaminants into your cultures. To prevent contamination, you must wear gloves.

Subculture procedure

- Remove the medium and wash the cells.

1.	Before you start, examine the flask. The medium should be a red-orange colour and appear clear (not cloudy). Hold the flask up towards the light and tilt it slightly. You should be able to see the cells growing on the base of the flask - they will be visible as a faint whitish sheet (milky smear like appearance) firmly attached to the flask floor.

2.	Pour the medium from the cell culture flask into a waste beaker. Avoid the beaker and flask neck touching each other.

3. 	Pour 10 ml PBS to the cell culture flask (this has been pre-measured for you, so you can pour it directly from the bottle) and replace the cap on the flask. Place the flask (with the cell side) down on the bench and leave it for 2 minutes, agitating the flask gently at intervals during this incubation.

This incubation with PBS washes away remaining traces of medium and reduces the levels of calcium and magnesium ions necessary for correct function of the adhesion proteins. This treatment makes the cell layer easier to detach in the next stage.

- Detach the cell layer.

4.	Pour the PBS from the flask into the waste beaker, and add 0.5ml of trypsin/EDTA solution to the flask (use the 100-1000l pipette with a sterile blue tip). Replace the flask cap and incubate in the 37°C incubator for 3-5 minutes until the cells detach from the flask floor. You will be able to see if this has occurred by noting the breaks and streaks appearing in the cell layer. Bang the flask firmly against the side of your hand to help dislodge the cells.

Trypsin is a proteolytic enzyme which will hydrolyse (breakdown) extracellular and cell surface proteins involved in cell-cell and cell-flask attachment thus releasing cells into suspension.

5.	When most of the cell layer has detached, add 5 ml cell growth medium to the flask using a 10ml sterile pipette and pipette the cell suspension up and down approximately 10 times to break up cell clumps. You should try to avoid frothing of the culture medium while you do this by ensuring the pipette tip is covered by liquid at all times..

The addition of growth medium dilutes any remaining trypsin to a low level. Also, the bovine serum in the medium contains a trypsin inhibitor protein that further reduces the trypsin activity.

6.	Using the same pipette, pipette about 0.5 ml (it does not matter if it is a bit more or a bit less) of the cell suspension into an eppendorf. You will use this sample for cell counting. Recap the flask containing the remaining cell suspension (approximately 4.5 ml). When you know the cell number in your suspension you will inoculate your new flasks using an appropriate volume taken from the parental (stock) suspension remaining in the flask. The cells in your parent flask will tend to re-attach to the flask floor while you are performing the cell counts. To prevent this happening (why is it important to avoid this?), you should agitate the stock flask every 2-3 minutes while doing your counts. The parental flask can remain on the bench at room temperature but you should work as quickly as possible to avoid harming the cells.

- Count the cells

7.		Prepare the haemocytometer by cleaning it carefully and attaching the coverslip. Ensure the haemocytometer is on a firm, flat surface before pressing on the sides of the coverslip. You should be familiar with this from earlier practicals. If not, ask!

8.		Gently mix the 0.5ml sample of cell suspension in the Eppendorf tube, and transfer 100 l to a new Eppendorf tube using a 100-1000l pipette with a blue tip. Add 100 l of trypan blue (100-1000l pipette). Note that you have diluted your cell suspension by the addition of trypan blue. The degree of dilution (expressed as the dilution factor) can be found as follows:

Dilution Factor (D)   = final volume after dilution ÷ original volume of cell suspension. What is the dilution factor in this experiment?

9.	Mix gently and load the haemocytometer using a blue tip (important) allowing the suspension to fill the chamber by capillary action. (Ensure to watch how to load haemocytometer on Learning Science platform).

10.	Using the x10 objective locate the four 1 mm2 corner squares (see the next page for a diagram). You will see that each of these corner squares is subdivided into 16 smaller squares. Count the viable (golden coloured) and non-viable (blue) cells in all four 1 mm2 corner squares. Record your counts on your data script. You should see approximately 20-50 cells in each of these corner squares. Nearly all of these will be viable; there will be very few dead cells.

Trypan blue is unable to cross the cell membrane of live cells and thus these remain unstained. However if the membrane is damaged, resulting in non-viable cells, trypan blue will enter the cell and stain it blue.

11.	Calculate the mean number of live (viable) cells and the mean number

of total cells per corner square.

12.		Calculate the percentage viability of your cell suspension:

Viability (%)   = 	       mean live cells  x 100

mean total cells (alive +dead)

13.	Calculate the number of viable cells per ml of your stock cell suspension. This can be found from the equation:

Cells/ml = N x (1/V) x D

N = mean viable cell number per corner square

V = volume of liquid contained above the corner square in cm 3 (V = 10-4, therefore 1/V = 104)

D = dilution factor due to adding trypan blue

The corner square has the dimensions 1 mm (l) x 1 mm (b) x 0.1 mm (d), and thus has a volume of 0.1 mm3, which is equivalent to 0.0001 cm3 (1 x10-4 cm3). 1/V = 104 - this is also called the haemocytometer conversion factor for the corner square.

SUBCULTURE PROTOCOL:  FLOW DIAGRAM

Label your flask, release cells with trypsin; make suspension with fresh medium

Agitate flask on the bench to

prevent re-attachment of cells

25cm2 ‘parent’ flask

Cell stock (parent) suspension

4.5 ml remaining			About 0.5 ml removed to tube for counting

for later inoculation

Haemocytometer count

Viable cell number/ml of suspension

Calculate cell inoculation volumes

Remove required inoculation volumes from parent flask and inoculate daughter flasks after

adding culture medium to provide final volume of 10 ml

25 cm2 daughter flasks 					   Label the flasks

Plating (floor) densities	          4 x 102 cells/cm2          4 x 103 cells/cm2

Incubate flasks until the following week

Haemocytometer grid

Remember that you should be counting cells that lie in the four corner squares (each 1mm by 1mm), an example of one square is shaded below.

Each corner square is divided into 16 smaller squares. Using the x10 objective, a corner square will almost fill the field of view.

Corner square

14.	Calculate the total number of cells that you will need to put into the    daughter flasks to achieve plating densities of 4 x 102 cells/cm2, and 4 x 103 cells/cm2. The surface area of the floor of the daughter flasks is 25 cm2.

15.	Calculate the volume of stock (parental) cell suspension that contains these numbers of cells. This is the inoculation volume that you need to place into your daughter flasks. This can be found by the following equation:

Volume required (ml) = 	     total number of cells required

cells/ml in stock cell suspension

16.	Calculate the volume of growth medium that you will need in each flask, so that the total volume (medium plus cell suspension) is 10 ml.

17.	Label your two new flasks on the side with your name and the plating density (either 4 x 102 cells/cm2 or 4 x 103 cells/cm2). Add the required volume of growth medium to each flask, using a 10ml graduated pipette. Inoculate each daughter flask with the required amount of cell suspension taken from your stock flask. You will need to use either a 10ml or a 1ml graduated pipette for this (do not use the100-1000l pipette). Remember your aseptic technique!

18.	The flasks will be incubated at 37 C in 5% CO2 /95% air. Record the initial properties of your cultures (e.g. medium colour) on your data sheet. You will examine the growth of your cultures at the beginning of Lab 2 the following week.

HAEMOCYTOMETER COUNTING- the calculations

Dilution factor due to adding trypan blue

# Volume of cell suspension		 =  100 l

Volume of trypan blue added	 =  100 l

Dilution factor (D)   =   total vol. after dilution	=                                    =   		   		   vol. of cell suspension

Table 2.   Cell counts obtained with the haemocytometer

| CORNER SQUARE | VIABLE CELLS | DEAD CELLS | TOTAL CELLS |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| MEAN VALUES | (N) |  |  |

Viability  (%)   = 	   mean live cells  x 100     =                                         =

mean total cells

Cells/ml of suspension = N x (104) x D =                                            =

Where N = mean viable cell number per corner square (from table above), and D = dilution factor as calculated above

To achieve a plating density of 4 x 102 cells/cm2

Total cells required per flask = plating density x area of flask floor (25cm2) =

Volume of stock cell suspension containing this number of cells =

total cells wanted per stock flask

Cells/ml in stock cell suspension

=                                                  =                                ml

And volume of culture medium to be added to bring total to 10 ml =

To achieve a plating density of 4 x 103 cells/cm2

Total cells required per flask = plating density x area of flask floor (25cm2) =

Volume of stock cell suspension containing this number of cells =

total cells wanted per stock flask

Cells/ml in stock cell suspension

=                                                  =                            ml

And volume of culture medium to be added to bring total to 10 ml =

Procedure during Lab the following week (observe your flasks and complete the table below)

1.		Remove your flasks from the incubator. Note the colour of the 			medium in each flask. Is the medium clear or cloudy (turbid)? 			Cloudiness indicates extensive cell death or microbial contamination. If 		the latter, the medium may be bright yellow due to acidification 			resulting from extensive growth of the contaminant. Due to the 			presence of antibiotics it is probable that most flasks will not be			contaminated. Hold the flask up to the light and tilt it slightly to 			determine whether you can see a sheet of cells growing on the flask 		floor.

2. 		Look at the cultures using the inverted microscope (x20 objective). 		Are cells visible? Estimate the percentage confluency of the 			cultures.

3. 		From the confluency of the cultures before and after culture, estimate 		the number of cell doublings that have occurred. To do this you 			should understand that if the cell number in the flask doubles, then 			confluency will also approximately double. Therefore a culture that had 		an initial confluency of 2% and a final confluency of about 32%, has 		undergone approximately 4 doublings during the culture period (2% - 		4% - 8% -16% - 32% = 4 doublings).

4. 		From this information, calculate the approximate cell cycle time of an average cell in the culture (number of hours divided by number of cell doublings). For example, if the culture has undergone 4 doublings in 18 hours at 37C, then each cell has divided approximately every 4.5 hours

5. 	When you finish discard your cultures into the “waste for autoclaving” 		bin.

OBSERVATION OF CELL CULTURES AFTER 3 DAYS GROWTH

Write the figures and text required in the spaces provided

| At inoculation (time = 0) | Plating density 4 x 102 cells/cm2 | Plating density 4 x 103 cells/cm2 |
| --- | --- | --- |
| % confluence (approximately) | 2 % | 20 % |
| After growth period of ..... | hours | hours |
| Medium colour |  |  |
| Medium clear or cloudy? |  |  |
| Is cell sheet visible to the naked eye? |  |  |
| % confluence |  |  |
| Number of cell doublings |  |  |
| Average time for each cell doubling (cell cycle time) | hours | hours |

Brief comments on observations and interpretation of results: