4009BIO: Cell Communication, Structure and Function

Lab 3: Cell toxicity-violet staining & Enzyme kinetics

Procedure Lab 3 – Crystal Violet Staining to observe the effect of the drugs (A1 and B1) on the LTK- cells

- Invert the plate over the sink to remove the medium from all wells; and wash the wells out GENTLY by adding approximately 1-2ml of PBS to each well (pour gently from the bottle) then invert the plate again to remove the PBS. Repeat one further time. Perform the whole procedure over the sink. Lay the plate upside down on a pad of paper towel to allow excess PBS to drain away.

- Add 1ml of 5% formaldehyde mixed in PBS (this is labelled FIX) to each well (pipette gently). Leave for 5 mins at room temperature.

- Invert the plate over the sink to remove the formaldehyde and wash again with PBS. Drain off excess PBS by laying the plate upside down on paper towel.

- Add 1ml of 0.01% crystal violet stain and leave for 5 mins.

- Invert the plate over the sink and gently wash each well with slow running tap water (use the tap with the plastic hose attached).

- Drain off excess water onto paper towel and observe your plate against a white background. Take A PICTURE!

Enzyme Assay with Alkaline Phosphatase: Part A

Learning Outcomes:

At the end of this practical session you should have learned how to:

- Set up a quantitative enzyme assay

  - Determine the time course of an assay

  - Decide how much enzyme to use

- Calculate units of activity from an enzyme assay

- Use known amounts of the enzyme to determine how much activity is in a test sample, using a standard curve

Next time, in Part B, we will create and evaluate enzyme kinetics data and see how this can improve the assay

# INTRODUCTION

Alkaline phosphatase (APase) is an enzyme found in blood. Elevated levels of alkaline phosphatase can be an indication of liver or bone disease, although levels can also be raised under physiologically normal conditions such as pregnancy and during growth spurts in children (where the bones are growing).

Due to the link between alkaline phosphatase levels and disease it is important to be able to quantify how much alkaline phosphatase is in a clinical sample.

In today’s laboratory practical we shall first set up a quantitative assay for alkaline phosphatase activity; then look at how the assay can be used to determine how much activity is present in a test sample.

Alkaline phosphatase is an enzyme which catalyses the hydrolysis of organic phosphate ester linkages (as shown in Figure 1).

Figure 1: The reaction catalysed by alkaline phosphatase.  R- can represent a wide range of organic structures.

The enzyme is relatively non-specific with respect to the organic group (R-) to which the phosphate is attached. This means that rather than use a physiological substrate we can use an artificial one, which is easier to work with.

One artificial substrate which may be used is phenolphthalein monophosphate (PMP). Phenolphthalein itself is used as a pH indicator; it is colourless below pH 8 but becomes coloured pink in the range pH 8 - 10.  This is due to a chemical change in acid or alkaline solutions (Fig2).

Figure 2: The structure of phenolphthalein in acidic or alkaline (pH > 8) solutions.

Phenolphthalein monophosphate is colourless at pH 10.  This is near to the enzyme's pH optimum so the activity of alkaline phosphatase can be measured at pH 10 using this substrate by following the increased pink colour as the phosphate is removed.  Absorbance of the phenolphthalein produced can be measured at a wavelength of 552 nm. The reaction that the enzyme catalyses is shown in Figure 3.

Figure 3: Conversion of PMP to phenolphthalein by alkaline phosphatase at pH 10

Enzyme assays:

An enzyme assay is used to measure the activity of an enzyme. Quite often an easy way to do this is to use a spectrophotometric assay. This is a suitable method if either the substrate or the product absorbs light. In our proposed assay the substrate is colourless, and the product is pink. So, we can measure the appearance of the pink colour over time and plot a graph of how the absorbance changes with time.

Measuring the amount of enzyme

A common way to quantify how much enzyme is present in a sample is to see how much activity can be measured. The more enzyme there is, the more active the sample will be in an assay. A popular, standardized, way to express the result is by determining how many International Units (or Units) of enzyme activity there is in a sample.

One Unit of enzyme activity is the amount of enzyme required to turnover (convert to products) one µmole of substrate in one minute.

How can we calculate activity in International units?
We can convert the change of absorbance per minute, to a change in concentration using a slightly modified version of Beer-Lambert’s law (shown in equation 1:

Equation 1:	ΔA = ε × ΔC × I

Where:

- ΔA	is the change in absorbance per minute

- ε	is the extinction co-efficient

- ΔC	is the change in concentration

- I	is the path length, which will be 1 cm.

We can simplify this equation to ΔA = z × ΔC, where z is a constant (ε×I). The value of z can be determined from Figure 4 and is 0.0228 μM-1.

Figure 4:  Calibration curve for phenolphthalein at pH 9.5.  
A plot of absorbance at 552 nm phenolphthalein concentration.  The measurements were made in a cuvette with a path length of 1 cm.  The slope of the graph shows that the extinction co-efficient is 0.0228 absorbance units per µM (0.0228 µM-1).

Now we know z we can use this to convert from change in absorbance to change in concentration as:

Equation 2:	ΔC = ΔA/ z (μM/min)

Rates are traditionally determined in μmoles/min rather than μM/min, so we need to convert from concentration (μM) to amount (μmoles).  Therefore, we need to consider the total volume of the reaction which will be 3.5 mL (or 0.0035 L).  Doing this allows us to calculate a factor that will convert absorbance change (ΔA) to reaction rate with the units of µmoles product produced per minute (see Equation 3).

Equation 3:
Reaction rate (μmol/min)

= ΔA × 0.0035/ z

=ΔA × 0.0035/ 0.0228

=ΔA× 0.154

Setting up an enzyme assay

Please think about these questions before coming to the lab

Some of the key considerations when setting up a quantitative assay to determine the amount of Alkaline Phosphatase in a sample are:

- What will I use to zero the spectrophotometer?

- How many points do I need on my graph?

- How long will the experiment last?

- What is the rate of the un-catalysed reaction?

- How can I determine the rate of the catalysed reaction?

- What should my enzyme concentration be?

- What is the relationship between rate and enzyme concentration?

- Is the assay reproducible?

- What should my substrate concentration be?

TODAY’S EXPERIMENTS

There are three parts to this laboratory practical.

- Measurement of alkaline phosphates activity over time.  A “time course”.

- Determination of the relationship between enzyme activity and enzyme concentration with this assay.

- Analysis of an enzyme solution of unknown activity to determine how much enzyme is present.

Use a Spreadsheet to record and make calculations of your data.

Reagents and materials provided for this practical work include:

- 130 μM PMP (substrate)

- Buffer pH 9.5

- Alkaline phosphatase (enzyme) solution

- Cuvettes that take a volume of 3.5 mL, with 1 cm path length

- Stirrers to ensure efficient mixing

- Automatic and glass pipettes

- Spectrophotometer

Experiment 1:  Measurement of alkaline phosphates activity over time.

In the first part of today’s practical you will work out the right amount of enzyme to use in the rest of the experiments.  This experiment will be performed in a 1 cm cuvette.  Absorbance of the solution in the cuvette is measured in a spectrophotometer at 552 nm.  To build a time course several readings are taken using a single cuvette.  This allows us to observe as the substrate (PMP) is hydrolysed, and product (phenolphthalein) is made over a period of time.  Readings will be taken every 30 seconds for 5 minutes.

Getting the substrate concentration right can take a bit of trial and error and we will look at this in more detail next time. To save you some time we suggest you try the following as a starting point in today’s studies.

- Use 2.5 mL PMP and add 0.5 mL buffer and 0.5 mL enzyme

  - What is the substrate concentration in the cuvette?

- We shall start by considering the un-catalysed (control) reaction

  - Mix buffer (0.5 mL) and substrate (2.5 mL)

  - Add another 0.5 mL buffer

  - Mix well & place the cuvette in the spectrophotometer

  - Take an absorbance reading & immediately start the timer

  - Measure the absorbance every 30s at 552 nm

  - Use Table 1 to record your results

- Reaction catalysed by alkaline phosphatase

  - Mix buffer (0.5 mL) and substrate (2.5 mL)

  - Add 0.5 mL enzyme

  - Mix well & place the cuvette in the spectrophotometer

  - Take an absorbance reading & immediately start the timer

  - Measure the absorbance every 30 secs at 552 nm

  - Use Table 1 to record your results

| Table 1. Time course for catalysed and un-catalysed hydrolysis of PMP |  |  |
| --- | --- | --- |
| Time (min) | Absorbance at 552 nm |  |
|  | Un-catalysed reaction | Catalysed reaction |
| 0 |  |  |
| 0.5 |  |  |
| 1.0 |  |  |
| 1.5 |  |  |
| 2.0 |  |  |
| 2.5 |  |  |
| 3.0 |  |  |
| 3.5 |  |  |
| 4.0 |  |  |
| 4.5 |  |  |
| 5.0 |  |  |

Was the absorbance change big enough to measure accurately?

- Use the graph (1) provided in the Results Spreadsheet to make a quick plot & analyse your data.

- It is important at this point that you are using a suitable amount of enzyme to be able to measure the initial rate of reaction, v0.

- Follow the guidance in the Flowchart (below) and do the experiment again if necessary.

Use this flow chart to decide what to do next…

What was the rate of the catalysed and un-catalysed reaction?  Insert the values in Table 2

| Table 2. Rate of catalysed and un-catalysed reaction |  |  |  |
| --- | --- | --- | --- |
|  | ΔA/min | Reaction rate (μmol/min) |  |
| Catalysed |  |  |  |
| Un-catalysed |  |  |  |

This is usually equivalent to International units but may be different depending on the stoichiometry of the reaction.  IU refers to substrate used, rather than product produced.